	
	confined space  checklist
	Page
	1 of 1

	
	ENTRY PERMIT
	Revision No:
	

	
	
	Issue Date:
	

	
	
	Issued By:
	

	
	
	Approved By:
	



	Date & Time Issued:
	
	Date & Time Expires:
	
	Job Site/Space I.D.
	

	Job Supervisor:
	
	Equipment to be worked on:
	
	Work to be performed:
	

	Standby Personnel:
	
	
	
	
	

	1.
	Atmospheric Checks:
	Time
	
	Oxygen
	
	%
	Toxic
	
	ppm

	
	
	
	
	Explosive
	
	% LFL
	Carbon Monoxide
	
	ppm

	2.
	Tester’s Signature:
	
	

	3.
	Source Isolation: (No Entry)
	
	N/A
	Yes
	No
	

	
	
Pumps or lines blinded, disconnected or blocked
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	4.
	Ventilation Modification:
	
	
	
	
	

	
	
Mechanical 
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	
	
Natural ventilation only
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	5.
	Atmospheric check after isolation and ventilation:  
	Time:
	
	

	
	
	Oxygen
	
	%
	>19.5%
	Toxic
	
	ppm  <10ppm H2S

	
	
	Explosive
	
	% LFL
	<10%
	Carbon Monoxide
	
	ppm  < 35 ppm CO

	
	Tester’s Signature:
	
	

	6.
	Communications procedures:
	


	7.
	Rescue procedures:
	

	
	

	8.
	Entry, Standby, and backup persons
	Yes
	No
	
	

	
	
Successfully completed required training?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	

	
	
Is Training current?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	

	9.
	Equipment:
	N/A
	Yes
	No
	

	
	
Direct reading gas monitor tested
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	
	
Safety harnesses and lifelines for entry and standby persons
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	
	
Hoisting equipment
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	
	
Powered communications
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	
	
SCBAs for entry and standby persons
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	
	
All electric equipment listed for Class I, Division I, Group D and nonsparking tools
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	

	10.
	Periodic atmospheric tests:

	
	Oxygen:
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	

	
	Explosive:
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	

	
	Toxic:
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	

	
	Carbon Monoxide:
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	
	
	
	%
	Time
	

	We have reviewed the work authorized by this permit and the information contained herein.  Written instructions and safety procedures have been received and are understood.  Entry cannot be approved if any  FORMCHECKBOX 
 are checked in the “NO” column.  This permit is not valid unless appropriate items are completed.

	Permit Prepared by:  (Supervisor)
	
	Approved by: (Unit Supervisor)
	

	Reviewed by: (CS Operations Personnel)
	

	This Permit is to be kept at job site.  Return job site copy to Safety Office following job completion.








