	
	Municipal Administrator’s quarterly 
	Page
	1 of 1

	
	compliance statement
	Revision No:
	

	
	
	Issue Date:
	

	
	
	Issued By:
	

	
	
	Approved By:
	



	Municipality
	

	Period:
	
	To:
	

	Indicate which statements are true for the reporting period.  For any “No” response, provide a separate report and attach to this report.  “No” response reports should clearly state problems, suspected causes, corrective action taken and date system was repaired.  If problem remains unresolved at time of this report, provide explanation and expected time frame for rectifying the problem.

	1. 
	Visual inspection done of watershed boundary
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	2. 
	Watershed signage inspected and missing signage replaced
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	3. 
	Access gate secure
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	4. 
	Intake inspected and cleaned
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	5. 
	Intake screen cleaned regularly
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	6. 
	Well head seal inspected
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	7. 
	Pumping equipment working properly
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	8. 
	Flow metering equipment working properly
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	9. 
	Treatment equipment working properly
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	10. 
	Chlorine residual checked daily
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	11. 
	Watermain flushing done in the distribution piping system
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	12. 
	Leak detection survey undertaken during reporting period
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	13. 
	Valve Exercising Program conducted during period
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	14. 
	Boil water advisory issued
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	15. 
	All known leaks repaired
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	16. 
	All outstanding operational issues resolved
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	17. 
	Water distribution system being operated in compliance with the Dept. of Environment and Conservation Permit to Operate.
	N/A
	 FORMCHECKBOX 

	Yes
	 FORMCHECKBOX 

	No
	 FORMCHECKBOX 


	
	Town Manager
	

	
	Date
	

	
	Date Reviewed by Council
	

	
	Mayor
	








