	
	
	Page
	1 of 1

	
	
	Revision No:
	

	
	WATER MAIN FAILURE REPORT
	Issue Date:
	

	
	
	Issued By:
	

	
	
	Approved By:
	



	Field Data for Main Break Evaluation

	1.
	Date of Break:
	
	Time
	
	 FORMCHECKBOX 
a.m.
	 FORMCHECKBOX 
p.m.

	2.
	Type of Main:
	
	Size
	
	Joint
	
	Cover
	
	Ft.
	
	In.

	
	
	Thickness at point of failure:
	
	In.
	
	
	

	3.
	Nature of Break:
	Circumferential   FORMCHECKBOX 

	Longitudinal  FORMCHECKBOX 

	Circumferential & Longitudinal  FORMCHECKBOX 

	Blow-out  FORMCHECKBOX 

	Joint  FORMCHECKBOX 


	
	
	Split at Corporation  FORMCHECKBOX 

	Sleeve  FORMCHECKBOX 

	Miscellaneous:
	

	4.
	Apparent Cause
of Break:
	Water Hammer (Surge)  FORMCHECKBOX 

	Defective Pipe  FORMCHECKBOX 

	Corrosion  FORMCHECKBOX 

	Deterioration  FORMCHECKBOX 

	Improper Bedding  FORMCHECKBOX 


	
	
	Excessive Operating Pressure  FORMCHECKBOX 

	Differential Settlement  FORMCHECKBOX 

	Temp. Change  FORMCHECKBOX 

	Contractor  FORMCHECKBOX 

	Misc.
	

	5.
	Street Surface:
	Paved  FORMCHECKBOX 

	Unpaved  FORMCHECKBOX 

	6.
	Traffic:
	Heavy  FORMCHECKBOX 

	Medium  FORMCHECKBOX 

	Light  FORMCHECKBOX 


	7.
	Type of Street Surface
	
	8.
	Type of Soil
	
	9.
	Corrosion
	Inside  FORMCHECKBOX 
 Outside  FORMCHECKBOX 


	10.
	Conditions Found:
	Rocks  FORMCHECKBOX 
 Voids  FORMCHECKBOX 

	11.
	Proximity to other Utilities
	

	
	
	Depth of Frost
	
	In.
	Depth of Snow
	
	In.

	
	
	
	
	
	
	
	

	Office Data for Main Evaluation

	1.
	Weather Conditions:  Previous two Weeks
	

	
	Sudden Change in Air Temperature?
	Yes  FORMCHECKBOX 
  No  FORMCHECKBOX 

	Temp.
	
	(C
	Rise
	
	(C
	Fall
	
	(C

	
	Sudden Change in Water Temperature?
	Yes  FORMCHECKBOX 
  No  FORMCHECKBOX 

	Temp.
	
	(C
	Rise
	
	(C
	Fall
	
	(C

	2.
	Type Type
	
	Class or Thickness
	
	Date Laid
	

	
	Operating Pressure
	
	PSI
	Previous Break Reported
	

	3.
	Initial Installation Data

	
	Trench Preparation: 
	 FORMCHECKBOX 
 Native Material
	 FORMCHECKBOX 
Sand Bedding
	 FORMCHECKBOX 
Gravel Bedding

	
	Backfill:
	Native Material  FORMCHECKBOX 

	Pit Run   FORMCHECKBOX 

	Sand & Gravel  FORMCHECKBOX 

	Sand FORMCHECKBOX 

	Gravel  FORMCHECKBOX 

	Crushed Rock  FORMCHECKBOX 

	Other  FORMCHECKBOX 

	

	
	Settlement:
	Natural FORMCHECKBOX 

	Water  FORMCHECKBOX 

	Compactors  FORMCHECKBOX 

	Vibrators  FORMCHECKBOX 

	Other  FORMCHECKBOX 

	

	
	

	Additional Data for Local Utility Use

	1.
	Location of Break
	
	Map No.
	

	2.
	Reported By
	

	3.
	Damage to Paving and/or Private Property
	

	
	

	4.
	Repairs Made (Materials, Labour, Equipment
	

	
	

	5.
	Repair Difficulties (if any)
	

	
	

	6.
	Installing Contractor
	

	
	








