## Header Sheet
APPENDIX B: | Includes the raw geochemical data for instrumental neutron activation analysis (INAA; Open File NFLD/3470). Please note that analysis and quality assurance are data from various areas around the province and were analyzed in the same batch. Results and quality assurance data are included for samples from Dead Wolf Pond (NTS 2D/10) include laboratory numbers 7834976 to 7834994, 7834996 to7835003, 7835006 to 7835015, Central Newfoundland (NTS 12A/07) include laboratory number 7835005, while samples from southwest Newfoundland (NTS 11O/16 and 11P/13) include 7834971, 7834973 and 7834975. One sample, 7834969, was taken from the Avalon Peninsula (NTS 1N/10). Data included in the workbook tabs is as follows:
Results INAA | Analytical results of instrumental neutron activation (INAA) analysis carried out by Bureau Veritas (BV), which include standards (certified reference materials, CRM) and duplicates. Elements analyzed include (in order of analysis): Sb ppm, As ppm, Ba ppm, Br ppm, Ce ppm, Cs ppm, Cr ppm, Co ppm, Eu ppm, Au ppb, Hf ppm, Fe pct, La ppm, Lu ppm, Mo ppm, Rb ppm, Sm ppm, Sc ppm, Se ppm, Na pct, Ta ppm, Tb ppm, Th ppm, W ppm, U ppm, Yb ppm, Zr ppm. Units include: parts per million (ppm), parts per billion (ppb) and in weight percent (pct).
CRM INAA | Analysis of certified reference materials (CRMs), including the lab averages, the upper and lower limits as determined by the mean plus 2 times the standard deviation.
Lab Duplicates INAA | Laboratory duplicate pair results.
Field Duplicates INAA | Field duplicate pair results.
Precision Charts (PC) INAA | Thompson-Howarth precision plots of lab duplicate pairs for elements analyzed in the "Lab Duplicate INAA" tab. In these precision plots, the mean of each pair of duplicates is plotted against their absolute difference; both axes are scaled logarithmically (Thompson and Howarth, 1978). A series of parallel lines indicates precision of gradually increasing absolute value, from ±1% to ±200%. Field duplicates are denoted by open circles, and analytical (lab) duplicates by closed circles; the absolute value of the precision for the former is invariably greater (i.e., the reproducibility is worse).
PC Lab vs Field Duplicates | Thompson-Howarth precision plots of "Lab Duplicate INAA" vs. "Field Duplicate INAA". In these precision plots, the mean of each pair of duplicates is plotted against their absolute difference; both axes are scaled logarithmically (Thompson and Howarth, 1978). A series of parallel lines indicates precision of gradually increasing absolute value, from ±1% to ±200%. Field duplicates are denoted by open circles, and analytical (lab) duplicates by closed circles; the absolute value of the precision for the former is invariably greater (i.e., the reproducibility is worse).
Metadata | Information including references and explanation of abbreviations used.

## Results INAA
Client : Department of Natural Resources, Newfoundland and Labrador
Howley Building, Higgins Line | [13 empty] | C3Y1160
St. John's, Newfoundland, Canada, A1B 4J6
Attention : Chris Finch
Date Received : 01-Nov-23
Date Reported : 28-Nov-23 | [28 empty] | 6790 Kitimat Rd, Unit #4
Mississauga, ON,Canada,L5N 5L9
Samples were run as received. | [28 empty] | Ph: (905) 826-3080 Fax : (905) 826-4151
Analysis performed by Neutron Activation (Method BQ-NAA-1) | [28 empty] | email : Robert.Allen@BureauVeritas.com
A negative result denotes "Less Than".
Note: Some Se detection limits elevated due to Ta interference on Se
Lab ID | Batch | Lab Number | Sample Number | Date | Geologist | Wt grams | Sb ppm | As ppm | Ba ppm | Br ppm | Ce ppm | Cs ppm | Cr ppm | Co ppm | Eu ppm | Au ppb | Hf ppm | Fe % | La ppm | Lu ppm | Mo ppm | Rb ppm | Sm ppm | Sc ppm | Se ppm | Na % | Ta ppm | Tb ppm | Th ppm | W ppm | U ppm | Yb ppm | Zr ppm | Dup
DL | [5 empty] | 10 Grams | 0.1 | 0.5 | 50 | 1 | 3 | 0.5 | 10 | 2 | 0.5 | 1 | 1 | 0.1 | 1 | 0.05 | 1 | 5 | 0.1 | 0.1 | 1 | 0.05 | 0.2 | 0.5 | 0.1 | 1 | 0.1 | 0.5 | 100
1 | N23-L01-1 | 7834969 | 23JO5000 | 2025-03-31 | Jennifer Organ | 11.93 | 0.2 | 0.9 | 1100 | 2 | 61 | 1.4 | -10 | -2 | 0.6 | -1 | 9 | 0.9 | 27 | 0.37 | -1 | 112 | 3.7 | 4.1 | -1 | 2.78 | 1.3 | 0.5 | 14.1 | -1 | 3.9 | 1.9 | 300
2 | N23-L01-2 | 7834970 | 7834969 | 2025-03-31 | Jennifer Organ | 11.4 | 0.2 | 1.2 | 1100 | 2 | 64 | 1.4 | -10 | -2 | -0.5 | -1 | 9 | 0.9 | 29 | 0.42 | -1 | 114 | 3.7 | 4.4 | -1 | 2.93 | 1.3 | 0.6 | 14.3 | -1 | 4.1 | 2.2 | 300 | d
3 | N23-L01-3 | 7834971 | 23JO5002 | 2025-03-31 | Jennifer Organ | 18.83 | 0.7 | 5.3 | 790 | 13 | 88 | 6.6 | 80 | 6 | 1.7 | -1 | 25 | 2.1 | 37 | 0.75 | -1 | 166 | 10.5 | 12.2 | -1 | 2.18 | 3.2 | 1.6 | 21.9 | 3 | 7.1 | 4.4 | 800
5 | N23-L01-5 | 7834973 | 23JO5004 | 2025-03-31 | Jennifer Organ | 12.44 | 0.5 | 4.7 | 440 | 16 | 102 | 9.3 | 50 | 7 | 2 | -1 | 26 | 3 | 44 | 0.68 | 32 | 78 | 10.2 | 9.7 | -1 | 2.08 | 2.7 | 1.4 | 20 | 5 | 8.1 | 3.6 | 800
7 | N23-L01-7 | 7834975 | 23JO5006 | 2025-03-31 | Jennifer Organ | 14.21 | 0.1 | -0.5 | 630 | 15 | 75 | 19.3 | 30 | 5 | 1.5 | 6 | 18 | 3 | 33 | 0.61 | 2 | 110 | 7.4 | 11.6 | -1 | 1.94 | 3.3 | 1.1 | 15.8 | 3 | 4 | 3.5 | 600
8 | N23-L01-8 | 7834976 | 23JO5007 | 2025-03-31 | Jennifer Organ | 13.48 | 0.4 | 4 | 270 | 4 | 84 | 7.2 | 110 | 5 | 1.4 | 4 | 13 | 2.1 | 40 | 0.49 | -1 | 134 | 7.1 | 7.4 | -1 | 1.6 | 2.5 | 1 | 19 | 3 | 4.8 | 2.8 | 400
9 | N23-L01-9 | 7834977 | 23JO5008 | 2025-03-31 | Jennifer Organ | 16.92 | 0.4 | 3.3 | 270 | -1 | 89 | 6.7 | 130 | 6 | 1.2 | -1 | 15 | 1.7 | 45 | 0.54 | -1 | 141 | 7.5 | 7.3 | -1 | 1.71 | 2.8 | 1.1 | 21.7 | 2 | 11 | 3 | 500
10 | N23-L01-10 | 7834978 | 23JO5009 | 2025-03-31 | Jennifer Organ | 12.97 | 0.3 | 3.7 | 250 | 14 | 77 | 5.2 | 110 | 4 | 1.2 | -1 | 23 | 1.8 | 36 | 0.59 | -1 | 124 | 7 | 5.3 | -1 | 1.7 | 3.4 | 1.1 | 17.7 | 4 | 5.4 | 4 | 800
11 | N23-L01-11 | 7834979 | 23JO5010 | 2025-03-31 | Jennifer Organ | 15.28 | 0.5 | 3.4 | 320 | 4 | 71 | 7.2 | 120 | 6 | 1.1 | -1 | 12 | 2 | 34 | 0.42 | -1 | 131 | 6.3 | 8.2 | -1 | 1.7 | 2.5 | 0.9 | 15.4 | 3 | 4.9 | 2.8 | 400
12 | N23-L01-12 | 7834980 | TILL-1 | 2025-03-31 | Jennifer Organ | 11.19 | 7.6 | 17.6 | 690 | 6 | 67 | 1 | 70 | 17 | 1.7 | 18 | 13 | 4.8 | 28 | 0.59 | -1 | 44 | 6.3 | 15 | -1 | 2.06 | 0.8 | 1.1 | 5.1 | -1 | 2.1 | 3.7 | 500
13 | N23-L01-13 | 7834981 | 23JO5011 | 2025-03-31 | Jennifer Organ | 13.11 | 0.4 | 4.8 | 330 | 17 | 104 | 7.7 | 120 | 9 | 1.3 | -1 | 12 | 2.3 | 34 | 0.46 | -1 | 130 | 6.2 | 9.1 | -1 | 1.58 | 2.4 | 0.9 | 19.2 | 2 | 4.6 | 2.5 | 400
14 | N23-L01-14 | 7834982 | 23JO5012 | 2025-03-31 | Jennifer Organ | 16.38 | 0.3 | 2.8 | 320 | 10 | 84 | 5.2 | 90 | 5 | 1.5 | -1 | 25 | 2.3 | 36 | 0.67 | -1 | 121 | 8.6 | 6.7 | -1 | 1.85 | 3 | 1.2 | 17.4 | 2 | 5 | 4.1 | 800
15 | JF-635 |  |  | 2025-03-31 | Jennifer Organ | 21.74 | 120 | 358 | 140 | 3 | 36 | -0.5 | 130 | 73 | 2.4 | 421 | 3 | 8 | 19 | 0.17 | 40 | 25 | 3.8 | 9.8 | 16 | 0.2 | 0.4 | -0.5 | 5.6 | 14 | 6.7 | -0.5 | -100
16 | N23-L01-15 | 7834983 | 23JO5013 | 2025-03-31 | Jennifer Organ | 14.87 | 0.3 | 2.7 | 300 | 4 | 82 | 4.1 | 120 | 4 | 1.3 | -1 | 26 | 2.3 | 37 | 0.84 | -1 | 111 | 9.2 | 6.4 | -1 | 1.79 | 3 | 1.4 | 16.2 | 2 | 4.7 | 4.8 | 800
17 | N23-L01-16 | 7834984 | 23JO5014 | 2025-03-31 | Jennifer Organ | 13.68 | 0.4 | 10.4 | 310 | 7 | 82 | 6.8 | 110 | 5 | 1.5 | -1 | 14 | 1.7 | 39 | 0.56 | -1 | 113 | 8.1 | 7.8 | -1 | 1.58 | 2.2 | 1.2 | 13.2 | 2 | 4.1 | 3.4 | 500
18 | N23-L01-17 | 7834985 | 23JO5015 | 2025-03-31 | Jennifer Organ | 11.01 | 0.5 | 3.5 | 310 | 33 | 72 | 8.2 | 160 | 9 | 1.3 | -1 | 11 | 2.3 | 33 | 0.42 | -1 | 116 | 6.3 | 10.4 | -1 | 1.21 | 2 | 0.9 | 13.1 | 3 | 3.9 | 3.1 | 300 | d
19 | N23-L01-18 | 7834986 | 23JO5016 | 2025-03-31 | Jennifer Organ | 11.6 | 0.4 | 2.3 | 300 | 35 | 77 | 7.8 | 130 | 7 | 1.3 | 3 | 13 | 2.2 | 36 | 0.5 | -1 | 122 | 7.2 | 9.4 | -1 | 1.25 | 2.3 | 1.1 | 14.3 | 2 | 4.5 | 2.5 | 400
20 | N23-L01-19 | 7834987 | 23JO5017 | 2025-03-31 | Jennifer Organ | 13.13 | 0.1 | -0.5 | 310 | 33 | 85 | 8.3 | 60 | 4 | 1.1 | -1 | 13 | 1.3 | 39 | 0.58 | -1 | 150 | 7.3 | 6.9 | -2 | 1.53 | 3.3 | 1 | 15 | 3 | 5.2 | 3.2 | 500
21 | N23-L01-20 | 7834988 | 23JO5018 | 2025-03-31 | Jennifer Organ | 13.06 | 0.5 | 1.1 | 250 | 4 | 77 | 6.8 | 200 | 15 | 1.2 | 10 | 16 | 2 | 36 | 0.53 | -1 | 101 | 7.5 | 9 | -1 | 1.49 | 2.8 | 1.2 | 12.7 | 2 | 4.8 | 3.7 | 500
22 | N23-L01-21 | 7834989 | 23JO5019 | 2025-03-31 | Jennifer Organ | 10.96 | 0.3 | 3.7 | 330 | 18 | 96 | 10.3 | 150 | 10 | 1.8 | -1 | 13 | 2.9 | 42 | 0.62 | -1 | 123 | 7.7 | 12 | -1 | 1.33 | 2.5 | 1.2 | 14.2 | 3 | 4.1 | 3.5 | 500
23 | N23-L01-22 | 7834990 | 7834985 | 2025-03-31 | Jennifer Organ | 10.15 | 0.5 | 3.7 | 340 | 36 | 70 | 9.4 | 150 | 9 | 1.3 | 2 | 10 | 2.5 | 34 | 0.42 | -1 | 127 | 6.5 | 10.9 | -1 | 1.29 | 2.2 | 1 | 13.2 | 2 | 4.1 | 2.6 | 300 | d
24 | N23-L01-23 | 7834991 | 23JO5020 | 2025-03-31 | Jennifer Organ | 11.85 | 0.4 | 14.9 | 380 | 13 | 84 | 10.1 | 110 | 10 | 1.7 | -1 | 9 | 3 | 40 | 0.53 | -1 | 130 | 7.9 | 12.6 | -1 | 1.33 | 2 | 1.2 | 14.6 | 4 | 3.3 | 2.8 | 300
25 | N23-L01-24 | 7834992 | 23JO5021 | 2025-03-31 | Jennifer Organ | 10.49 | 0.4 | 79.4 | 500 | 8 | 177 | 20 | 120 | 14 | 2.3 | -1 | 9 | 4.1 | 63 | 0.62 | -1 | 131 | 11.6 | 13.4 | -1 | 1.02 | 2.1 | 1.5 | 17.7 | 6 | 3.8 | 3.5 | 300
26 | N23-L01-25 | 7834993 | 23JO5022 | 2025-03-31 | Jennifer Organ | 12.92 | 1 | 172 | 420 | 17 | 347 | 14.8 | 140 | 28 | 1.7 | -1 | 11 | 4.3 | 45 | 0.48 | -1 | 128 | 8.3 | 12 | -1 | 1.03 | 2.3 | 1.2 | 15.7 | 4 | 4.2 | 3.4 | 400
27 | N23-L01-26 | 7834994 | 23JO5023 | 2025-03-31 | Jennifer Organ | 10.31 | 1.2 | 54.2 | 410 | 2 | 136 | 10.5 | 130 | 22 | 1.7 | -1 | 9 | 3.5 | 49 | 0.49 | -1 | 116 | 9.1 | 12.6 | -1 | 1.1 | 2.1 | 1.2 | 15.2 | 3 | 3.9 | 3.2 | 300
29 | N23-L01-28 | 7834996 | 23JO5025 | 2025-03-31 | Jennifer Organ | 11.15 | 0.4 | 2.9 | 320 | -1 | 71 | 9.7 | 150 | 13 | 1.4 | -1 | 14 | 2.1 | 34 | 0.41 | -1 | 104 | 6.1 | 10.2 | -1 | 1.23 | 2.4 | 0.9 | 13.1 | 5 | 9.7 | 2.7 | 500
30 | N23-L01-29 | 7834997 | 23JO5026 | 2025-03-31 | Jennifer Organ | 11.02 | 0.5 | 12.7 | 250 | 13 | 100 | 7.8 | 160 | 11 | 1.5 | 2 | 13 | 2.5 | 40 | 0.47 | -1 | 79 | 8.8 | 9.2 | -1 | 1.22 | 1.9 | 1.3 | 13.2 | 5 | 3.9 | 3.5 | 400
31 | N23-L01-30 | 7834998 | 23JO5027 | 2025-03-31 | Jennifer Organ | 10.6 | 0.5 | 26.1 | 280 | 10 | 147 | 9.9 | 210 | 15 | 1.9 | 6 | 15 | 3 | 51 | 0.64 | -1 | 93 | 9.6 | 11.9 | -1 | 1.44 | 2.1 | 1.4 | 19.1 | 5 | 3.7 | 3.7 | 500
32 | N23-L01-31 | 7834999 | 23JO5028 | 2025-03-31 | Jennifer Organ | 9.35 | 0.5 | 133 | 280 | 19 | 337 | 13.3 | 180 | 19 | 3.3 | 14 | 15 | 3.7 | 82 | 0.86 | -1 | 99 | 15.7 | 13.7 | -1 | 1.26 | 2.2 | 2.3 | 18.9 | 4 | 5.3 | 5.8 | 500
33 | N23-L01-32 | 7835000 | TILL-3 | 2025-03-31 | Jennifer Organ | 16.28 | 0.8 | 86.5 | 470 | 5 | 38 | 1.9 | 120 | 14 | 0.9 | 5 | 6 | 2.8 | 19 | 0.21 | -1 | 55 | 3.6 | 10.1 | -1 | 1.87 | 0.6 | -0.5 | 4.6 | -1 | 2 | 1.1 | 200
34 | N23-L01-33 | 7835001 | 23JO5029 | 2025-03-31 | Jennifer Organ | 13.02 | 0.7 | 25.3 | 400 | 27 | 57 | 11.6 | 160 | 20 | 1 | -1 | 8 | 3.8 | 26 | 0.37 | -1 | 84 | 4.7 | 11.2 | -1 | 0.81 | 1.5 | 0.7 | 10.6 | 3 | 2.6 | 2.1 | 300
35 | N23-L01-34 | 7835002 | 23JO5030 | 2025-03-31 | Jennifer Organ | 14.82 | 0.4 | 1.5 | 320 | 14 | 85 | 6 | 110 | 6 | 1.3 | -1 | 15 | 2 | 39 | 0.59 | -1 | 113 | 7.7 | 8.3 | -1 | 1.63 | 2.5 | 1.1 | 16 | 2 | 6.7 | 3.3 | 500
36 | JF-530 |  |  | 2025-03-31 | Jennifer Organ | 23.78 | 78 | 397 | 140 | -1 | 104 | 4.9 | 1010 | 182 | 1.5 | 3590 | 4 | 6.3 | 61 | 0.5 | 10 | 107 | 8.6 | 18.6 | -3 | 1.83 | 0.5 | 1.1 | 7.6 | 78 | 1.8 | 2.9 | 200
37 | N23-L01-35 | 7835003 | 23JO5031 | 2025-03-31 | Jennifer Organ | 14.55 | 0.4 | 3.8 | 330 | 11 | 97 | 6.6 | 120 | 8 | 1.6 | -1 | 17 | 2.4 | 41 | 0.61 | -1 | 127 | 8.3 | 8.6 | -1 | 1.69 | 2.5 | 1.3 | 20 | 1 | 5 | 3.9 | 500
39 | N23-L01-37 | 7835005 | 23JO5033 | 2025-03-31 | Jennifer Organ | 10.6 | 2.8 | 83.7 | 320 | 1 | 59 | 1.3 | 50 | 27 | 1.7 | 9 | 5 | 5.5 | 27 | 0.69 | -1 | 32 | 8 | 23.4 | -1 | 1.97 | 0.9 | 1.4 | 5.7 | 2 | 2.2 | 4.3 | -100 | d
40 | N23-L01-38 | 7835006 | 23JO5034 | 2025-03-31 | Jennifer Organ | 10.48 | 0.3 | 7.6 | 370 | 10 | 57 | 9.8 | 130 | 10 | 1 | -1 | 12 | 2.6 | 28 | 0.45 | -1 | 98 | 5.5 | 10 | -1 | 0.96 | 2.1 | 0.8 | 8.7 | 4 | 3.7 | 2.6 | 400
41 | N23-L01-39 | 7835007 | 23JO5035 | 2025-03-31 | Jennifer Organ | 14.55 | 0.7 | 24 | 260 | 8 | 102 | 7 | 130 | 18 | 1.3 | -1 | 18 | 2.5 | 41 | 0.56 | -1 | 91 | 8.5 | 8.6 | -1 | 1.43 | 2.7 | 1.3 | 14.8 | 8 | 4.4 | 3.1 | 600
42 | N23-L01-40 | 7835008 | 23JO5036 | 2025-03-31 | Jennifer Organ | 15.68 | 0.6 | 20.8 | 230 | 11 | 101 | 6.3 | 130 | 14 | 1.5 | -1 | 17 | 2.4 | 39 | 0.55 | -1 | 85 | 7.7 | 7.9 | -1 | 1.39 | 2.7 | 1.1 | 13.9 | 7 | 3.9 | 3.3 | 600
43 | N23-L01-41 | 7835009 | 23JO5037 | 2025-03-31 | Jennifer Organ | 13.68 | 0.5 | 10.9 | 250 | 11 | 85 | 7.4 | 140 | 8 | 1.4 | -1 | 14 | 2.5 | 35 | 0.48 | -1 | 83 | 6.5 | 8.8 | -1 | 1.32 | 2.2 | 0.9 | 13.1 | 5 | 3.1 | 2.7 | 400
44 | N23-L01-42 | 7835010 | 7835005 | 2025-03-31 | Jennifer Organ | 15.17 | 2.9 | 87.5 | 340 | 1 | 59 | 1.5 | 50 | 28 | 2.4 | 7 | 5 | 6 | 29 | 0.67 | -1 | 36 | 8.4 | 25.7 | -1 | 2.07 | 1 | 1.4 | 6.2 | -1 | 2.3 | 4.6 | 200 | d
45 | N23-L01-43 | 7835011 | 23JO5038 | 2025-03-31 | Jennifer Organ | 12.47 | 0.6 | 15.9 | 270 | 15 | 75 | 8.6 | 140 | 14 | 1.4 | -1 | 10 | 2.8 | 31 | 0.43 | -1 | 103 | 6 | 10 | -1 | 1.42 | 1.9 | 0.9 | 12.4 | 7 | 2.7 | 2.4 | 300
46 | N23-L01-44 | 7835012 | 23JO5039 | 2025-03-31 | Jennifer Organ | 15.71 | 0.3 | 8.3 | 270 | 9 | 84 | 10.2 | 140 | 11 | 1.5 | -1 | 15 | 2.8 | 36 | 0.54 | -1 | 114 | 6.9 | 10 | -1 | 1.44 | 2.6 | 1 | 15.2 | 8 | 3.9 | 3.2 | 500
47 | N23-L01-45 | 7835013 | 23JO5040 | 2025-03-31 | Jennifer Organ | 12.49 | 0.3 | 1.1 | 260 | 2 | 71 | 7.8 | 120 | 8 | 1.4 | -1 | 11 | 2.1 | 34 | 0.48 | -1 | 121 | 6.3 | 9.1 | -1 | 1.6 | 2.2 | 1 | 11.2 | 3 | 4.3 | 2.6 | 300
48 | N23-L01-46 | 7835014 | 23JO5041 | 2025-03-31 | Jennifer Organ | 14.89 | 0.3 | 24.3 | 170 | 36 | 100 | 7.2 | 140 | 8 | 1.3 | 4 | 16 | 2.7 | 36 | 0.56 | -1 | 77 | 6.5 | 8.1 | -1 | 1.4 | 2.9 | 0.9 | 14.8 | 7 | 3.6 | 2.6 | 500
49 | N23-L01-47 | 7835015 | 23JO5042 | 2025-03-31 | Jennifer Organ | 10.08 | 0.2 | 7.3 | 230 | 15 | 83 | 9 | 120 | 8 | 1.1 | -1 | 12 | 2.5 | 30 | 0.46 | -1 | 90 | 5.3 | 8.6 | -1 | 1.24 | 2.2 | 0.8 | 12.6 | 4 | 3.1 | 2.4 | 400

## CRM INAA
International CRM's
TILL-1 | Batch | Lab Number | Sample Number | Date | Geologist | Wt grams | Sb | As | Ba | Br | Ce | Cs | Cr | Co | Eu | Au | Hf | Fe | La | Lu | Mo | Rb | Sm | Sc | Se | Na | Ta | Tb | Th | W | U | Yb | Zr
[7 empty] | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Rec Val | [6 empty] | 7.8 | 18 | 702 | 6.4 | 71 | 1 | 65 | 18 | 1.3 | 13 | 13 | 4.81 | 28 | 0.6 | 2 | 44 | 5.9 | 13 |  | 2.01 | 0.7 | 1.1 | 5.6 | -1 | 2.2 | 3.9 | 502
Avg | [6 empty] | 7.3934 | 18.1523 | 712.2157 | 6.0662 | 71.8025 | 0.54198 | 63.9321 | 17.3548 | 1.5275 | 12.3604 | 13.2609 | 4.8544 | 28.1727 | 0.57702 | -0.59718 | 41.1593 | 6.1951 | 14.0896 | -1.0323 | 2.0583 | 0.50931 | 0.82605 | 5.4993 | -0.67742 | 1.9368 | 3.8577 | 457.3494
UCL | [6 empty] | 9.4501 | 22.5804 | 1049.3492 | 8.2894 | 92.8126 | 2.9118 | 81.7286 | 21.9991 | 2.2543 | 28.9016 | 18.9621 | 5.8505 | 34.4158 | 0.76492 | 3.624 | 81.4123 | 7.9109 | 16.8067 | 0.77728 | 2.4348 | 1.6944 | 2.2333 | 6.9957 | 0.42847 | 3.7366 | 4.9044 | 567.5558
LCL | [6 empty] | 5.3366 | 13.7243 | 375.0823 | 3.843 | 50.7924 | -1.8278 | 46.1355 | 12.7106 | 0.80058 | -4.1809 | 7.5597 | 3.8584 | 21.9296 | 0.38912 | -4.8183 | 0.90623 | 4.4793 | 11.3725 | -2.8418 | 1.6817 | -0.67578 | -0.58121 | 4.0029 | -1.7833 | 0.13706 | 2.8111 | 347.143
12 | N23-L01-12 | 7834980 | TILL-1 | 2025-03-31 | Jennifer Organ | 11.19 | 7.6 | 17.6 | 690 | 6 | 67 | 1 | 70 | 17 | 1.7 | 18 | 13 | 4.8 | 28 | 0.59 | -1 | 44 | 6.3 | 15 | -1 | 2.06 | 0.8 | 1.1 | 5.1 | -1 | 2.1 | 3.7 | 500
TILL-3 | Batch | Lab Number | Sample Number | Date | Geologist | Wt grams | Sb | As | Ba | Br | Ce | Cs | Cr | Co | Eu | Au | Hf | Fe | La | Lu | Mo | Rb | Sm | Sc | Se | Na | Ta | Tb | Th | W | U | Yb | Zr
[7 empty] | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Rec Val | [6 empty] | 0.9 | 87 | 489 | 4.5 | 42 | 1.7 | 123 | 15 | -1 | 6 | 8 | 2.78 | 21 | 0.2 | 2 | 55 | 3.3 | 10 |  | 1.96 | -0.5 | -0.5 | 4.6 | -1 | 2.1 | 1.5 | 230
Avg | [6 empty] | 0.86091 | 89.2839 | 485.2053 | 4.2786 | 40.9656 | 1.7892 | 122.8207 | 14.0745 | 0.75617 | 5.5314 | 6.1568 | 2.8003 | 19.6748 | 0.21035 | -0.32154 | 52.2051 | 3.5654 | 10.0979 | -1.0081 | 1.9865 | 0.36476 | -0.34309 | 4.7265 | -0.944 | 1.8925 | 1.4679 | 151.8452
UCL | [6 empty] | 1.1057 | 101.8229 | 579.8794 | 6.0032 | 50.3508 | 2.9886 | 145.4622 | 16.7269 | 1.7758 | 17.9976 | 8.0511 | 3.1954 | 22.8962 | 0.34137 | 3.4097 | 77.5856 | 4.1704 | 11.5682 | 0.20394 | 2.2744 | 1.1329 | 0.42402 | 5.5768 | -0.1366 | 2.6037 | 2.0452 | 438.8211
LCL | [6 empty] | 0.61616 | 76.7448 | 390.5312 | 2.554 | 31.5804 | 0.58981 | 100.1793 | 11.4222 | -0.26346 | -6.9348 | 4.2626 | 2.4053 | 16.4534 | 0.079328 | -4.0527 | 26.8245 | 2.9603 | 8.6276 | -2.2202 | 1.6986 | -0.4034 | -1.1102 | 3.8762 | -1.7514 | 1.1814 | 0.89068 | -135.1307
33 | N23-L01-32 | 7835000 | TILL-3 | 2025-03-31 | Jennifer Organ | 16.28 | 0.8 | 86.5 | 470 | 5 | 38 | 1.9 | 120 | 14 | 0.9 | 5 | 6 | 2.8 | 19 | 0.21 | -1 | 55 | 3.6 | 10.1 | -1 | 1.87 | 0.6 | -0.5 | 4.6 | -1 | 2 | 1.1 | 200
Bureau Veritas In-House Reference Materials
JF-530 | Batch | Lab Number | Sample Number | Date | Geologist | Wt grams | Sb | As | Ba | Br | Ce | Cs | Cr | Co | Eu | Au | Hf | Fe | La | Lu | Mo | Rb | Sm | Sc | Se | Na | Ta | Tb | Th | W | U | Yb | Zr
[7 empty] | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Rec Val
Avg | [6 empty] | 78.6282 | 390.2564 | 135.1795 | -0.25641 | 102.8974 | 4.6615 | 1005.3846 | 183.5897 | 0.74359 | 3290.2564 | 1.7436 | 6.2897 | 60.8205 | 0.52846 | 13.7692 | 105.3333 | 8.2282 | 17.8615 | -1.641 | 1.9738 | 0.2359 | 1.0128 | 7.6615 | 72.5641 | 1.9179 | 2.6077 | -88.7179
UCL | [6 empty] | 82.369 | 407.654 | 180.777 | 2.0705 | 115.8897 | 5.1528 | 1092.7852 | 195.5257 | 3.2165 | 3552.2523 | 6.6793 | 6.8084 | 64.6832 | 0.6797 | 17.885 | 116.3962 | 9.0963 | 19.3586 | 2.0436 | 2.1596 | 0.88719 | 1.2384 | 8.3098 | 78.2911 | 2.2287 | 3.6258 | 231.3208
LCL | [6 empty] | 74.8874 | 372.8588 | 89.582 | -2.5833 | 89.9052 | 4.1703 | 917.984 | 171.6538 | -1.7293 | 3028.2605 | -3.1922 | 5.7711 | 56.9578 | 0.37722 | 9.6535 | 94.2705 | 7.3601 | 16.3644 | -5.3256 | 1.7881 | -0.4154 | 0.7872 | 7.0133 | 66.8371 | 1.6072 | 1.5896 | -408.7567
36 | JF-530 |  |  | 2025-03-31 | Jennifer Organ | 23.78 | 78 | 397 | 140 | -1 | 104 | 4.9 | 1010 | 182 | 1.5 | 3590 | 4 | 6.3 | 61 | 0.5 | 10 | 107 | 8.6 | 18.6 | -3 | 1.83 | 0.5 | 1.1 | 7.6 | 78 | 1.8 | 2.9 | 200
JF-635 | Batch | Lab Number | Sample Number | Date | Geologist | Wt grams | Sb | As | Ba | Br | Ce | Cs | Cr | Co | Eu | Au | Hf | Fe | La | Lu | Mo | Rb | Sm | Sc | Se | Na | Ta | Tb | Th | W | U | Yb | Zr
[7 empty] | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Rec Val
Avg | [6 empty] | 126.439 | 367.5366 | 141.9512 | 0.4878 | 39.1707 | 0.3439 | 155.439 | 79.1707 | 2.9268 | 407.9024 | 1.0976 | 8.6976 | 21.0488 | 0.23902 | 40.0976 | 24.878 | 4.0707 | 10.2366 | 13.8537 | 0.1878 | 0.32927 | -0.29512 | 5.8098 | 12.9756 | 6.761 | -0.57317 | -97.561
UCL | [6 empty] | 133.8828 | 388.7219 | 186.7216 | 3.285 | 51.8822 | 1.5389 | 197.908 | 85.0512 | 3.7952 | 439.7169 | 4.4384 | 9.4166 | 22.9436 | 0.58716 | 49.2497 | 31.5742 | 4.4638 | 11.1363 | 18.7641 | 0.2223 | 0.78806 | 0.54862 | 6.3553 | 14.6778 | 7.219 | 0.53229 | 104.8139
LCL | [6 empty] | 118.9953 | 346.3512 | 97.1808 | -2.3094 | 26.4593 | -0.85113 | 112.9701 | 73.2902 | 2.0585 | 376.088 | -2.2432 | 7.9786 | 19.154 | -0.10911 | 30.9455 | 18.1819 | 3.6777 | 9.3369 | 8.9432 | 0.1533 | -0.12952 | -1.1389 | 5.2642 | 11.2734 | 6.303 | -1.6786 | -299.9359
15 | JF-635 |  |  | 2025-03-31 | Jennifer Organ | 21.74 | 120 | 358 | 140 | 3 | 36 | -0.5 | 130 | 73 | 2.4 | 421 | 3 | 8 | 19 | 0.17 | 40 | 25 | 3.8 | 9.8 | 16 | 0.2 | 0.4 | -0.5 | 5.6 | 14 | 6.7 | -0.5 | -100

## Lab Duplicates INAA
Lab Number | Sample Number | Wt grams | Sb ppm | As ppm | Ba ppm | Br ppm | Ce ppm | Cs ppm | Cr ppm | Co ppm | Eu ppm | Au ppb | Hf ppm | Fe % | La ppm | Lu ppm | Mo ppm | Rb ppm | Sm ppm | Sc ppm | Se ppm | Na% | Ta ppm | Tb ppm | Th ppm | W ppm | U ppm | Yb ppm | Zr ppm
7834969 | 23JO5000 | 11.93 | 0.2 | 0.9 | 1100 | 2 | 61 | 1.4 | -10 | -2 | 0.6 | -1 | 9 | 0.9 | 27 | 0.37 | -1 | 112 | 3.7 | 4.1 | -1 | 2.78 | 1.3 | 0.5 | 14.1 | -1 | 3.9 | 1.9 | 300 | d
7834970 | 7834969 | 11.4 | 0.2 | 1.2 | 1100 | 2 | 64 | 1.4 | -10 | -2 | -0.5 | -1 | 9 | 0.9 | 29 | 0.42 | -1 | 114 | 3.7 | 4.4 | -1 | 2.93 | 1.3 | 0.6 | 14.3 | -1 | 4.1 | 2.2 | 300 | d
7834985 | 23JO5015 | 11.01 | 0.5 | 3.5 | 310 | 33 | 72 | 8.2 | 160 | 9 | 1.3 | -1 | 11 | 2.3 | 33 | 0.42 | -1 | 116 | 6.3 | 10.4 | -1 | 1.21 | 2 | 0.9 | 13.1 | 3 | 3.9 | 3.1 | 300 | d
7834990 | 7834985 | 10.15 | 0.5 | 3.7 | 340 | 36 | 70 | 9.4 | 150 | 9 | 1.3 | 2 | 10 | 2.5 | 34 | 0.42 | -1 | 127 | 6.5 | 10.9 | -1 | 1.29 | 2.2 | 1 | 13.2 | 2 | 4.1 | 2.6 | 300 | d
7835005 | 23JO5033 | 10.6 | 2.8 | 83.7 | 320 | 1 | 59 | 1.3 | 50 | 27 | 1.7 | 9 | 5 | 5.5 | 27 | 0.69 | -1 | 32 | 8 | 23.4 | -1 | 1.97 | 0.9 | 1.4 | 5.7 | 2 | 2.2 | 4.3 | -100 | d
7835010 | 7835005 | 15.17 | 2.9 | 87.5 | 340 | 1 | 59 | 1.5 | 50 | 28 | 2.4 | 7 | 5 | 6 | 29 | 0.67 | -1 | 36 | 8.4 | 25.7 | -1 | 2.07 | 1 | 1.4 | 6.2 | -1 | 2.3 | 4.6 | 200 | d

## Field Duplicates INAA
Lab Number | Lab number | Sample Number | Sample duplicate | Wt grams | Sb ppm | As ppm | Ba ppm | Br ppm | Ce ppm | Cs ppm | Cr ppm | Co ppm | Eu ppm | Au ppb | Hf ppm | Fe % | La ppm | Lu ppm | Mo ppm | Rb ppm | Sm ppm | Sc ppm | Se ppm | Na% | Ta ppm | Tb ppm | Th ppm | W ppm | U ppm | Yb ppm | Zr ppm
18 | 7834985 | 23JO5015 | ORIGINAL | 11.01 | 0.5 | 3.5 | 310 | 33 | 72 | 8.2 | 160 | 9 | 1.3 | -1 | 11 | 2.3 | 33 | 0.42 | -1 | 116 | 6.3 | 10.4 | -1 | 1.21 | 2 | 0.9 | 13.1 | 3 | 3.9 | 3.1 | 300 | d
19 | 7834986 | 23JO5016 | DUPLICATE | 11.6 | 0.4 | 2.3 | 300 | 35 | 77 | 7.8 | 130 | 7 | 1.3 | 3 | 13 | 2.2 | 36 | 0.5 | -1 | 122 | 7.2 | 9.4 | -1 | 1.25 | 2.3 | 1.1 | 14.3 | 2 | 4.5 | 2.5 | 400
41 | 7835007 | 23JO5035 | ORIGINAL | 14.55 | 0.7 | 24 | 260 | 8 | 102 | 7 | 130 | 18 | 1.3 | -1 | 18 | 2.5 | 41 | 0.56 | -1 | 91 | 8.5 | 8.6 | -1 | 1.43 | 2.7 | 1.3 | 14.8 | 8 | 4.4 | 3.1 | 600
42 | 7835008 | 23JO5036 | DUPLICATE | 15.68 | 0.6 | 20.8 | 230 | 11 | 101 | 6.3 | 130 | 14 | 1.5 | -1 | 17 | 2.4 | 39 | 0.55 | -1 | 85 | 7.7 | 7.9 | -1 | 1.39 | 2.7 | 1.1 | 13.9 | 7 | 3.9 | 3.3 | 600

## Precision Charts
Insufficient Data

## Metadata
REFERENCES
Finch, C., Roldan, R., Walsh, L., Kelly, J. and Amor, S.D.
2018: Analytical methods for chemical analysis of geological materials. Government of
Newfoundland and Labrador, Department of Natural Resources, Geological Survey, Open File
NFLD/3316, 67 pages.
Govindaraju, K.
1994: Special Issue of Geostandards Newsletter, Working Group "Analytical Standards of Minerals, Ores and Rocks,
Vandoeuvre-lès-Nancy, France, 158 pages.
Riddle, C.
1993: Analysis of Geological Materials. Marcel Dekker, INC, 270 Madison Avenue, New
York, New York, 10016, 463 pages
ACRONYMS
% | Dried Weight Percent
Avg | Average of All Laboratory Determinations
CRM | Certified Reference Material
DL | Detection Limit
DUPS | Laboratory Duplicates
LCL | Lower Control Limit (average -2 standard deviations)
ppb | Parts Per Billion
ppm | Parts Per Million
Rec Val | Recommended Value/Certified Value
UCL | Upper Control Limit (average +2 standard deviations)